## EIR 19-20-265 - Brookside SPS
Date - Start | Date finish | Description | Alarm
08.01.2020 | 09.01.2020 | (PA) PUMPING STATION FAILED | Wet Well High
08.01.2020 | 13.01.2020 | (PA) PUMPING STATION FAILED | Investigate pump 2 failure
08.01.2020 | 22.01.2020 | (PA) PUMPING STATION FAILED | Replace Contactor Pump 2
08.01.2020 |  | SX_BROOKSIDE CHALGROVE SPS-Pump 2 Auto | Reactive Pump Alarm
08.01.2020 |  | SX_BROOKSIDE CHALGROVE SPS-Pump 2 Auto | Reconect pump 2
04.01.2020 | 04.01.2020 | SX_BROOKSIDE CHALGROVE SPS-Pumping Sta-- | Monitoring Alarm
13.12.2019 | 13.12.2019 | SX_BROOKSIDE CHALGROVE SPS - Site Power | Reactive Tech 1 Assist
10.12.2019 | 13.12.2019 | Pump 3 | Reactive Pump Alarm
10.12.2019 | 16.12.2019 | Pump 3 | Reactive Tech 1 Assist
23.09.2019 | 23.09.2019 | SX_BROOKSIDE CHALGROVE SPS - Site Power | Monitoring Alarm
26.08.2019 |  | SX_BROOKSIDE CHALGROVE SPS - Pump 3 | Reactive Pump Alarm
31.07.2019 | 31.07.2019 | SX_BROOKSIDE CHALGROVE SPS - Pump 2 | Reactive Pump Alarm
31.07.2019 | 31.07.2019 | SX_BROOKSIDE CHALGROVE SPS - Pump 2 | Reactive Electrical Assist
31.07.2019 | 31.07.2019 | SX_BROOKSIDE CHALGROVE SPS-Outstation -- | Monitoring Alarm
24.07.2019 |  | (PA) PUMP 2 | Reactive Tech 1 Assist
24.07.2019 | 24.07.2019 | SX_BROOKSIDE CHALGROVE SPS-Outstation -- | Monitoring Alarm
20.07.2019 | 20.07.2019 | SX_BROOKSIDE CHALGROVE SPS-Communicati-- | Monitoring Alarm
18.03.2019 | 18.03.2019 | SX_BROOKSIDE CHALGROVE SPS - Pump 2 | Reactive Pump Alarm
25.01.2019 | 25.01.2019 | Pump 2 | Monitoring Alarm
21.10.2017 | 21.10.2017 | SX_BROOKSIDE CHALGROVE SPS-Multiple Pu-- | Reactive Pump Alarm
21.10.2017 | 16.02.2018 | SX_BROOKSIDE CHALGROVE SPS-Multiple Pu-- | Reactive equip fail Elec
21.10.2017 | 01.11.2017 | SX_BROOKSIDE CHALGROVE SPS-Multiple Pu-- | Reactive Electrical Assist
21.10.2017 | 20.02.2018 | SX_BROOKSIDE CHALGROVE SPS-Multiple Pu-- | Reactive Tech 1 Assist
21.10.2017 | 21.02.2018 | SX_BROOKSIDE CHALGROVE SPS-Multiple Pu-- | Reactive Tech 1 Assist
10.10.2017 | 10.10.2017 | SX_BROOKSIDE CHALGROVE SPS - Site Power | Monitoring Alarm
29.07.2017 | 31.07.2017 | SX_BROOKSIDE CHALGROVE SPS-Communicati-- | Monitoring Alarm
20.06.2017 | 20.06.2017 | SX_BROOKSIDE CHALGROVE SPS-Outstation -- | Monitoring Alarm
23.05.2017 | 24.05.2017 | Site Check - Customer Contact | Monitoring Alarm
23.05.2017 | 24.05.2017 | Site Check - Customer Contact | Reactive Tech 1 Assist
19.01.2017 | 19.01.2017 | SX_BROOKSIDE CHALGROVE SPS - Site Power | Monitoring Alarm
16.10.2016 | 16.10.2016 | SX_BROOKSIDE CHALGROVE SPS-Pumping Sta-- | Monitoring Alarm
16.10.2016 | 16.10.2016 | SX_BROOKSIDE CHALGROVE SPS-Pumping Sta-- | Monitoring Alarm
13.09.2016 | 13.09.2016 | SX_BROOKSIDE CHALGROVE SPS-Multiple Pu-- | Monitoring Alarm
13.09.2016 | 13.09.2016 | SX_BROOKSIDE CHALGROVE SPS-Multiple Pu-- | Reactive equip fail Elec
13.09.2016 | 13.09.2016 | SX_BROOKSIDE CHALGROVE SPS-Multiple Pu-- | Reactive Electrical Assist
29.03.2016 | 30.03.2016 | SX_BROOKSIDE CHALGROVE SPS-Outstation -- | Monitoring Alarm
14.12.2015 | 14.12.2015 | SX_BROOKSIDE CHALGROVE SPS - Site Power | Comms failure
16.07.2015 | 17.07.2015 | SX_BROOKSIDE CHALGROVE SPS-Outstation -- | Monitoring Alarm
16.07.2015 | 17.07.2015 | SX_BROOKSIDE CHALGROVE SPS-Outstation -- | check outstation supply MCB
07.06.2015 | 07.06.2015 | SX_BROOKSIDE CHALGROVE SPS-Pumping Sta-- | Monitoring Alarm
21.10.2014 | 21.10.2014 | SX_BROOKSIDE CHALGROVE SPS-Multiple Pu-- | Reactive Pump Alarm
03.07.2014 | 03.07.2014 | SX_BROOKSIDE CHALGROVE SPS - Site Power | Monitoring Alarm
03.07.2014 | 04.07.2014 | SX_BROOKSIDE CHALGROVE SPS - Site Power | Reactive Tech 1 Assist
03.07.2014 | 04.07.2014 | SX_BROOKSIDE CHALGROVE SPS - Site Power | Reactive Electrical Assist
20.04.2014 | 20.04.2014 | SX_BROOKSIDE CHALGROVE SPS-Pumping Sta-- | Wet Well High
20.04.2014 | 20.04.2014 | SX_BROOKSIDE CHALGROVE SPS-Pumping Sta-- | Please assist Colin
11.03.2014 | 11.03.2014 | SX_BROOKSIDE CHALGROVE SPS-Multiple Pu-- | Reactive Pump Alarm
27.01.2014 | 27.01.2014 | SX_BROOKSIDE CHALGROVE SPS-PUMPING STA-- | Reactive Pump Alarm